Protein detection & quantification
- Spectrophotometric Determination of Protein Concentration
- Lowry, Bradford, BCA – what are the differences?
- Silver staining and related techniques
- Quantitation of Coomassie gels
- Specific detection with antibodies (“Western blots”)
- (Semi-)Quantification of Western blots (“Densitometry”) and the dynamic range problem
- Radiolabelling of proteins, X-ray films & phosphoimager plates

---
Information about enzymes
needed for cloning
- The New England Biolabs (NEB) cataloghttps://www.neb.com/tools-and-resources
- ReBase (Restriction Enzyme Database)
  http://rebase.neb.com/rebase/rebase.html
- Calculating enzyme amounts?
  http://mcblserver.ltdk.helsinki.fi/recalc/*
  *Account needed! Anybody php/mysql?

---
Beer-Lambert Law
A=ε×l×c
A absorption
ε molar extenction coefficient
l length
c concentration
A = log{I_{0}} over {I}

---
Fluorescence of amino acids and proteins
	Max. Absorption (nm)	Emission (nm) (after lifetime of ~ 2-7 ns)
Tryptophan	280	348
Tyrosine	274	303
Phenylalanine	257	282
EGFP	488	509

---
The theory is clear, but the paracticalities are confusing...
unit
M-1cm-1
SI units
A280 Molar Extinction Coefficient
cm2mg-1
most common
A280 Extinction Coefficient 1mg/ml
(“optical absorbance at 1g/l”)
0.1·cm2mg-1
rarely used
A280 Percent Solution Absorbance (E1%)

---
Calculating ε (280nm)
ε280nm =(5500×nTrp)+(1490×nTyr)+(125×nS-S)
Why does Phe not absorb at 280nm? It is, after all, also an aromatic ring with delocalized
Π-electrons. It does absorb UV, but it does so at shorter wave lengths, because its
congugated system is small.
naphthalene
benzene
anthracene

---
ε or cm2mg-1?
Example calculation:
c = {A} over {%varepsilon cdot l}
BSA, ε=0.667 cm2mg-1, l = 1 cm, A = 1.334
c = {unitless!} over {cm^2 mg^-1 cdot cm} = mg over cm^3
c = {1.334} over {0.667cm^2 mg^-1 cdot 1cm} = 2 mg over cm^3
multiply by MW (g/mol)
BSA, ε=43824 M-1cm-1, l = 1 cm, A = 1.334
c = {unitless!} over {M^-1 cm^-1 cdot cm} = M
c = {1.334} over {43824M^-1 cm^-1 cdot 1cm} sim 3 cdot 10^{-5} M
BSA: 66463 g/mol
Less than 5% of the photons make it through the cuvette!

---
Converting from mg/ml to mol/l
	MW (g/mol)	g/l (or mg/ml)	%	mol/l (molarity, M)
BSA	66433	1	0.1	15 · 10-6 (= 15 µM)
BSA		100	10	1.5· 10-3 (= 1.5 mM)
IgG	~150000	1	0.1	~6.7 µM
RNaseA	~13700	1	0.1	73 µM
÷10
÷MW

---
Measuring bacterial growth by OD
Beer-Lambert law
A = ε cdot c cdot l
Homogenous, true solution (no suspension!), parallel light beams
OD600 for measuring bacterial growth does not measure absorption, but scattering
(⇒ huge differences between photometers for bacterial OD600 measurements)
Linear range: OD 0-1
[Speaker Notes: OD measurement for E.coli necessary for: -induction - preparing competent cells - determining/optimizing/standardizing inocula Forward systems: monochromator light source and photodiode Reverse systems: polychromatic light source, specific detection (e.g. CCD)]

---
UV, Lowry, Bradford or BCA?

---
Coomassie, silver staining, etc.
Bradford = Comassie Brilliant Blue G-250
Staining method	Detecton limit (ng)	Quantitation	Mass spec
Silver	0.1-1	no	no*
Comassie	~100	yes	yes
Colloidal Coomassie	~10	yes	yes
Copper	~10	no	yes
*Special protocols allow mass spec, but they compromise sensitivity

---
Western Blotting
Detection with specific antibodies after transfer of the proteins to a membrane
Images by Bensaccount

---
Western Blotting
- Both relative and absolute quantification is possible. Absolute quantification requires a protein standard which is mostly not available.
- Relative quantification is easy with digital capture devices, but tedious with traditional X-ray film.
- Many different commerical solutions exist to replace X-ray film: Syngene's PXi, Li-Cor's Odysee (IR-dyes), Azure's cSeries, etc.
- Digital data aquisition is superior in all respect except for two issues:
1. 1. Sensitivity is still an issue if you need to detect (non-quantitatively) very low protein amounts! Don't let the massive propaganda machinery of the producers fool you!
2. 2. Exposure is possible only for one gel at a time as opposed to X-ray film casettes, where as many blots can be exposed simultaneously as there are film casettes

---
Quantitation of Coomassie gels and
scanned Western blots
http://lukemiller.org/index.php/2010/11/analyzing-gels-and-western-blots-with-image-j/
ImageJ (NIH): http://imagej.nih.gov/ij/
Not the best, but the standard software, ImageJ2 under development
? Icy: http://icy.bioimageanalysis.org/
? Jmicrovision: http://www.jmicrovision.com/
http://lukemiller.org/index.php/2013/02/analyzing-western-blots-with-image-studio-lite/
Image Studio Lite: http://www.licor.com/bio/products/software/image_studio_lite/index.html

---
Metabolic labeling
Growing your cells in cystein- and methionine-deficient medium and adding radioactively labeled cys/met mix (“Easy Tag”, 35S, t1/2 ~2.5 months)
Because all proteins are going to be labeled, you still need a specific reagent: typically you immunoprecipitate your protein with a specific antibody or anti-serum, run a SDS-PAGE and expose the dried gel to X-ray film or phosphoimager plates
Quantitation as with Western from exposed X-ray film or the digital image
Works also if regular medium is used (just not as well...)
Pitfalls: Proteins have different Cys/Met content! The label gets often depleted during the experiment!

---
The Cloning Challenge
250µg (less than one DNA mass prep) ~200 €
1kb ladder
100bp ladder

---
DNA markers
100 bp ladder
λ HIndIII

---
Example: pREP7

---
Making a DNA ladder

---
Making a DNA ladder
Minimize:
Price: enzymes needed for digesting 2mg DNA (saves about 2k€), getting the construct
Cloning work & reagents
Maximize:
Coverage: no big gaps between individual bands, not two bands too close to each other
Equal band intensities: Only possible to reach by having multiple fragments of the same size